| UNIVERSITY OF NIŠ |
| --- |
| Course Unit Descriptor | Faculty | Faculty of Mechanical Engineering |
| GENERAL INFORMATION |
| Study Program | Energy and Process Engineering |
| Study Module (if applicable) | - |
| Course Title | Thermal Power Plants |
| Level of Study | ☐Bachelor | ☒ Master’s | ☐ Doctoral |
| Type of Course | ☐ Obligatory | ☒ Elective |
| Semester | ☐ Autumn | ☒Spring |
| Year of Study | I |
| Number of ECTS Allocated | 6 |
| Name of Lecturer/Lecturers | Dragoljub S. Živković, Mirjana S. Laković |
| Teaching Mode | ☒ Lectures | ☐ Group tutorials | ☐ Individual tutorials |
|  | ☐ Laboratory work | ☒ Project work | ☒ Seminar |
|  | ☐ Distance learning | ☐ Blended learning | ☐ Other |
| Purpose and Overview (max. 5 sentences) |
| Introduce students to operational principles, calculation methods of parts of the plant, design and exploitation problems of modern power plants. The course enables the mastering of calculation methods of the certain parts of the plants, design, analysis, construction and operation of modern power plants. |
| Syllabus (brief outline and summary of topics, max. 10 sentences) |
| 1) General introduction - primary energy resources, consumption of electric power and thermal energy, consumption diagrams and consumer characteristics, historical development and types of thermal power plants; 2) Selection of schemes and parameters of thermal power plants – Technological scheme, thermal scheme, scheme of pipelines and armature scheme; 3) District heating power plants; 4) Design of modern power plants – main stages of design, site selection and general plan of power plants, preliminary design with investment program, general disposition and composition of thermal power plant, criteria for optimization, guidelines for equipment contracting; 5) The condensation plant – scheme and basic elements of condensing plant, thermal processes in condenser, devices for suction air and non-condensing gases; 6) System for supplying water to the power plants – flow and return flow cooling, water treatment process, cooling towers; 7) Transport and storage of fuels in power plants; 8) Transport and storage of slag and ash in power plants; 9) Purification and removal of flue gases into the atmosphere; 10) Nuclear power plants; 11) Exploitation problems of thermal power plants – maintenance, automatic control, regulation, process of starting-up, process of shutting-down, warranty and operation tests; 12) Production costs and optimization of thermal power plants – calculation of production costs, criteria for optimizing with application of comparative economic factors, economic indicators of profitability. |
| Language of Instruction |
| ☒Serbian (complete course) | ☒ English (complete course) | ☐ Other _____________ (complete course) |
| ☐Serbian with English mentoring | ☐Serbian with other mentoring ______________ |
| Assessment Methods and Criteria |
| Pre exam Duties | Points | Final Exam | Points |
| Activity During Lectures | 5 | Written Examination | 10 |
| Practical Teaching | 5 | Oral Examination | Max. 30 (depending on Teaching Colloquia) |
| Teaching Colloquia | 50 | Overall Sum | 100 |
| *Final examination mark is formed in accordance with the Institutional documents |